## Slide 1: PID controller and stability
Disclaimer: Funded by the European Union. Views and opinions expressed are however those of the author(s) only and do not necessarily reflect those of the European Union or the European Education and Culture Executive Agency (EACEA). Neither the European Union nor EACEA can be held responsible for them.

## Slide 2: PID controller
By far the most commonly used control algorithm, especially in low level control
Simple to implement and comprehend

## Slide 3: Transfer characteristics of a PID controller

## Slide 4: Graphical representation

## Slide 5: Naming
It is composed of three components: proportional (P), integral (I) and derivative (D).
It is not necessary for the controller to have all three components. If derivative component is for example missing, the controller is called PI controller.

## Slide 6: Alternative form of the PID control algorithm
Typically met when dealing with PLCs

## Slide 7: Real environment PID
Derivative poses problem because it amplifies high frequency noise
An alternative form is therefore used

## Slide 8: Stability
As noted previously stability is the main goal of the controller
It is achived by ensuring that all the closed loop system poles lie in the left half of the complex plane
Various criterea can be used to check this (Routh, Hurwitz, etc.)

## Slide 9: Routh’s method (1)
Starting point is characteristic polynomial
Routh’s array

## Slide 10: Routh’s method (2)
Coefficient calculation

## Slide 11: System stability
If all the coefficients in the first column (n + 1 coefficients) have the same sign (either all are positive, or all are negative) the system is stable.

## Slide 12: Hurwitz criterion (1)
Developed independently from Routh criterion but essentially equivalent
Starting point is characteristic polynomial as well

## Slide 13: Hurwitz criterion (2)
Hurwitz determinant

## Slide 14: System stability
Determinant and all the subdeterminants must be positive

## Slide 15: PID tuning
PID tuning is the process of obtaining an appropriate combination of PID algorithm’s parameters
System stability is just the most important system requirement.
There are methods developed for systematic determinantion of systems’ parameters (Ziegler-Nichols, etc.)

## Slide 16: Ziegler-Nichols (1)
The starting point is system (object) approximation

## Slide 17: Ziegler-Nichols (2)
System parameters are obtained from a step response

## Slide 18: Ziegler-Nichols (3)
PID algorithm parameters can be obtained from the following table

## Slide 19: Ziegler-Nicols (integral object)
If the object is integral, a different approach has to be taken
A closed loop system is observed with proportional component being increased until the critical value is reached

## Slide 20: Ziegler-Nichols: Parameters for integral object
PID control algoritm’s parameters are obtained from the following table: