## Slide 1: Realization of a PID controller
Disclaimer: Funded by the European Union. Views and opinions expressed are however those of the author(s) only and do not necessarily reflect those of the European Union or the European Education and Culture Executive Agency (EACEA). Neither the European Union nor EACEA can be held responsible for them.

## Slide 2: Possible realizations
Two types of realizations are possible
Analog
Discrete

## Slide 3: Analog realization
Closely related to feedback control theory, especially at introductory level
Seldom encountered in real environment
The main building block is operational amplifier

## Slide 4: Operational amplifier
Transfer function:

## Slide 5: Operational amplifier properties
The main properties of operational amplifier:
Very high amplification: A ≥ 105+
Very high input resistance: Ri > 1MΩ
Low output resistance: Ro = 50 − 75Ω

## Slide 6: Assumptions when configuration with feedback is being used
The input voltages are equal
The input current is equal to zero.
The output resistance is equal to zero (the most problematic assumption)

## Slide 7: Circuits needed to implement PID controller
In order to implement a PID controller the following subsytems are needed:
Inverting amplifier
Summing amplifier
Integrator
Differentiator

## Slide 8: Inverting amplifier

## Slide 9: Summing amplifier

## Slide 10: Integrator

## Slide 11: Differentiator

## Slide 12: PID (analog version)

## Slide 13: Digital (discrete) realization
Almost always the one met in real industrial environment
Less correlated to introductory level control theory
Easier to modify and adapt during the tuning process
More reliable

## Slide 14: Discrete components
Starting point

## Slide 15: Proportional component
Easy to realize

## Slide 16: Integral component (1)

## Slide 17: Inegral component (2)
We can write

## Slide 18: Derivative component
The derivation is the inverse of integration. So in this case the roles of signals u(t) and o(t) are interchanged. This gives us:

## Slide 19: The z-transform
When using analog signals, their representation is greatly simplified using Laplace transform.
In the case of discrete signals this can be done using z-transform. The operator z could also be named ”prediction operator”. If U(z) is namely the z-transform of the signal u[kTv], then zU(z) is the z-transform of the signal u[(k+1)Tv].

## Slide 20: Implementation of the z-transform
Using z-transform the integral part of a PID controller can be written as:
In a similar way, we get the following equation for the derivative part:

## Slide 21: PID control algorithm (z-transform version)